## Curve
Littelfuse.com
Disclaimer Notice
Information furnished is believed to be accurate and reliable. However, users should independently evaluate the suitability of and test each product selected for their own applications. Littelfuse products are not designed for, and may not be used in, all applications. Read complete Disclaimer Notice at:
www.littelfuse.com/disclaimer-electronics
© 2017 Littelfuse, Inc.
Specifications subject to change without notice.
Revised: 07/10/17
Resistance Versus Temperature Table for Littelfuse Part Number 102PS1J
Temp | Temp | Base Resistance Value (Ω) @ +25°C (+77°F)
(°C) | (°F) | 1,000 Ω
Ω
-40 | -40 | 564
-39 | -38.2 | 569
-38 | -36.4 | 574
-37 | -34.6 | 580
-36 | -32.8 | 585
-35 | -31 | 591
-34 | -29.2 | 597
-33 | -27.4 | 602
-32 | -25.6 | 608
-31 | -23.8 | 614
-30 | -22 | 620
-29 | -20.2 | 626
-28 | -18.4 | 632
-27 | -16.6 | 638
-26 | -14.8 | 644
-25 | -13 | 651
-24 | -11.2 | 657
-23 | -9.4 | 663
-22 | -7.6 | 669
-21 | -5.8 | 675.5
-20 | -4 | 682
-19 | -2.2 | 688
-18 | -0.4 | 695
-17 | 1.4 | 701
-16 | 3.2 | 707
-15 | 5 | 714
-14 | 6.8 | 720
-13 | 8.6 | 726
-12 | 10.4 | 733
-11 | 12.2 | 739
-10 | 14 | 745
-9 | 15.8 | 752
-8 | 17.6 | 758
-7 | 19.4 | 765
-6 | 21.2 | 772
-5 | 23 | 779
-4 | 24.8 | 785
-3 | 26.6 | 792
-2 | 28.4 | 799
-1 | 30.2 | 806
0 | 32 | 813
1 | 33.8 | 820
2 | 35.6 | 827
3 | 37.4 | 834
4 | 39.2 | 841
5 | 41 | 848
6 | 42.8 | 856
7 | 44.6 | 863
8 | 46.4 | 870
9 | 48.2 | 878
10 | 50 | 885
11 | 51.8 | 892
12 | 53.6 | 900
13 | 55.4 | 907
14 | 57.2 | 915
15 | 59 | 923
16 | 60.8 | 930
17 | 62.6 | 938
18 | 64.4 | 945
19 | 66.2 | 953
20 | 68 | 961
21 | 69.8 | 969
22 | 71.6 | 977
23 | 73.4 | 984
24 | 75.2 | 992
25 | 77 | 1000
26 | 78.8 | 1008
27 | 80.6 | 1016
28 | 82.4 | 1023
29 | 84.2 | 1031
30 | 86 | 1039
31 | 87.8 | 1047
32 | 89.6 | 1055
33 | 91.4 | 1063
34 | 93.2 | 1071
35 | 95 | 1079
36 | 96.8 | 1088
37 | 98.6 | 1096
38 | 100.4 | 1105
39 | 102.2 | 1113
40 | 104 | 1122
41 | 105.8 | 1130
42 | 107.6 | 1139
43 | 109.4 | 1148
44 | 111.2 | 1156
45 | 113 | 1165
46 | 114.8 | 1174
47 | 116.6 | 1183
48 | 118.4 | 1192
49 | 120.2 | 1201
50 | 122 | 1210
51 | 123.8 | 1219
52 | 125.6 | 1228
53 | 127.4 | 1238
54 | 129.2 | 1247
55 | 131 | 1256
56 | 132.8 | 1265
57 | 134.6 | 1275
58 | 136.4 | 1284
59 | 138.2 | 1294
60 | 140 | 1303
61 | 141.8 | 1312
62 | 143.6 | 1322
63 | 145.4 | 1331
64 | 147.2 | 1341
65 | 149 | 1350
66 | 150.8 | 1360
67 | 152.6 | 1369
68 | 154.4 | 1378
69 | 156.2 | 1388
70 | 158 | 1397
71 | 159.8 | 1406
72 | 161.6 | 1415
73 | 163.4 | 1425
74 | 165.2 | 1434
75 | 167 | 1444
76 | 168.8 | 1454
77 | 170.6 | 1464
78 | 172.4 | 1474
79 | 174.2 | 1484
80 | 176 | 1494
81 | 177.8 | 1504
82 | 179.6 | 1515
83 | 181.4 | 1525
84 | 183.2 | 1536
85 | 185 | 1546
86 | 186.8 | 1557
87 | 188.6 | 1567
88 | 190.4 | 1578
89 | 192.2 | 1588
90 | 194 | 1599
91 | 195.8 | 1610
92 | 197.6 | 1620
93 | 199.4 | 1631
94 | 201.2 | 1641
95 | 203 | 1652
96 | 204.8 | 1662
97 | 206.6 | 1673
98 | 208.4 | 1683
99 | 210.2 | 1694
100 | 212 | 1704
101 | 213.8 | 1714
102 | 215.6 | 1725
103 | 217.4 | 1735
104 | 219.2 | 1746
105 | 221 | 1756
106 | 222.8 | 1767
107 | 224.6 | 1778
108 | 226.4 | 1789
109 | 228.2 | 1799
110 | 230 | 1810
111 | 231.8 | 1821
112 | 233.6 | 1831
113 | 235.4 | 1842
114 | 237.2 | 1852
115 | 239 | 1862
116 | 240.8 | 1872
117 | 242.6 | 1882
118 | 244.4 | 1892
119 | 246.2 | 1902
120 | 248 | 1911
121 | 249.8 | 1920
122 | 251.6 | 1929
123 | 253.4 | 1938
124 | 255.2 | 1946
125 | 257 | 1954
126 | 258.8 | 1962
127 | 260.6 | 1969
128 | 262.4 | 1976
129 | 264.2 | 1983
130 | 266 | 1989